HIGHLAND WATER DISTRICT

PO BOX 158,   (24602 OLD OWEN RD)

MONROE, WA 98272-0158

PHONE (360) 794-6900

E-MAIL staff@highlandwaterdistrict.com

MINUTES FOR THE ZOOM MEETING OF THE BOARD OF COMMISSIONERS OF HIGHLAND WATER DISTRICT ON THURSDAY, SEPTEMBER 10, 2020

Call to order:	Commissioner Stonebridge announced that a quorum of the board was present and called the meeting to order at 6:00 p.m. He made a short statement regarding the use of Zoom for the meeting to comply with COVID-19 rules that were enacted by the Governor. The Office Staff will collect signatures from the Commissioners at their residence after the meeting using proper distancing protocol.

Commissioners present:	Ted Stonebridge, Richard Johnson, Dana Jorden

Staff and Contractors:	Ray Phelps, Susan Forbes

Prior Minutes:	The Commissioners reviewed the minutes for the August 13, 2020 meeting. Commissioner Stonebridge made a motion to approve the minutes. Commissioner Jorden seconded the motion and it carried unanimously.

Engineer:

A.Pasado’s	There was some discussion regarding a fire flow test that was done. The flow was at 928 gallons per minute. Pasado’s is planning to use a 6” compound meter on their side of the service line. Updated plans are going to be received by the District that should be 100% complete.

Attorney:

- ULID Collection:	The collection of an unpaid ULID has been put on hold until after the District lifts the temporary policy on shut offs and late fees.

Staff:

A. Usage:	The unaccounted for use for August was 15% for Highland and 9% for Friar Creek. There was some discussion. The District is looking into purchasing leak detection equipment. More information will be presented at the next meeting.

B. Building Maint:	The District received some quotes for roofing and painting. After the Commissioners reviewed the quotes there was some discussion. Commissioner Johnson motioned to accept the quote of $7500.00 plus tax from Clarity Construction for painting the building. Commissioner Jorden seconded the vote and it carried. Commissioner Stonebridge motioned to accept the quote of $15,551.86 plus tax from Valentine Roofing to replace the roof, remove the old chimney, replace the facia boards, and put in new sky lights. Commissioner Johnson seconded the motion and it carried unanimously. District staff will contact the contractors to confirm dates to begin the work.

Commissioners:

A. Financials:	The financials for August were provided to the Commissioners for review. There was a short discussion.

B. Spy Glass Pressure:	There was some discussion regarding a report a potential buyer in the new Spy Glass development received about the pressure to the home he bid on in the upper cul-de-sac. The Lead Field Tech checked the pressure. It was over 50 PSI at the home. Ultimately it would be up to the home owner or developer to put in equipment to increase the pressure if they wanted to add irrigation or other items.

C. Union:	It is time to renew the Union contract. There was some discussion. There is a very preliminary draft for the Commissioners to review and some of the wording on leave will be changed to go along with the new FMLA.

Vouchers/Payroll:	Commissioner Stonebridge made a motion to approve vouchers 6245 through 6261 in the amount of $61,424.42. Commissioner Jorden seconded the motion and it carried unanimously. Commissioner Stonebridge made a motion to approve payroll for September in the amount of $17,089.41. Commissioner Johnson seconded the motion and it carried unanimously.

Next meeting:	The next regular meeting will be held on Thursday, October 8, 2020 at 6 p.m. at the District office at 24602 Old Owen Rd, Monroe, WA 98272. If needed the meeting will be conducted through Zoom again.

Concluded:	The meeting was concluded at 7:16pm September 10, 2020.

Approved:	October 8, 2020

Attended__ Absent__

Ted Stonebridge, President

Attended__ Absent__

###### Richard Johnson, Secretary

Attended__ Absent__

Dana Jorden, Vice President